## signals
datasource | signal | label | unit | unit_conversion | range_min | range_max | priority | color | visible | line_dash | period_resampling | display | groups | hover_template | timezone | trace_mode | opacity
other::waves | * | [5 empty] | 1 |  |  |  | 0.2 |  |  |  | UTC
other::waves | art | Arterial pressure | mmHg |  | 0 | 200 | [6 empty] | Arterial Pressure
other::waves | pleth | Plethysmography | AU
other::numerics | *
other::numerics | FC | Heart Rate | bpm | [9 empty] | Arterial Pressure
other::numerics | PNId | Pressure diastolic | mmHg |  |  |  | 1.5 | [5 empty] | Arterial Pressure
other::numerics | PNIm | Pressure mean | mmHg |  |  |  | 1.5 | [5 empty] | Arterial Pressure
other::numerics | PNIs | Pressure systolic | mmHg |  |  |  | 1.5 | [5 empty] | Arterial Pressure
other::syringe | * | [14 empty] | lines+markers
other::syringe | Vitesse Babynoradrenaline |  | µg/h | 5
eit | * | [5 empty] | 2.5 |  |  |  | 0.2 |  |  |  | Asia/Karachi |  | 0.7
eit | Global |  | Ohms |  |  |  |  | black |  |  |  |  | EIT Impedance
eit | Local 1* |  | Ohms |  |  |  |  | red |  |  |  |  | EIT Impedance
eit | Local 2* |  | Ohms |  |  |  |  | blue |  |  |  |  | EIT Impedance
eit | Local 3* |  | Ohms |  |  |  |  | green |  |  |  |  | EIT Impedance
eit | Local 4* |  | Ohms |  |  |  |  | purple |  |  |  |  | EIT Impedance
eit | %Local 1* |  | Proportion |  |  |  |  | red |  |  |  |  | EIT Impedance | fraction
eit | %Local 2* |  | Proportion |  |  |  |  | blue |  |  |  |  | EIT Impedance | percentage
eit | %Local 3* |  | Proportion |  |  |  |  | green |  |  |  |  | EIT Impedance
eit | %Local 4* |  | Proportion |  |  |  |  | purple |  |  |  |  | EIT Impedance
servo_u | * | [5 empty] | 1 |  |  |  | 0.02 |  |  |  | UTC
servo_u | Airway Press. (cmH2O) | Airway Pressure | cmH2O |  |  |  |  | #e74c3c |  |  |  |  | Pressure & Flow
servo_u | Volume (ml) | Volume | mL |  | -50 | 800 |  | #3498db |  |  |  |  | Volume
servo_u | Airway Flow (ml / s) | Airway Flow | L/min | 0.06 |  |  |  | #2ecc71 |  |  |  |  | Pressure & Flow
servo_u | Esophageal Press. (cmH2O) | Esophageal Pressure | cmH2O |  |  |  |  | #e74c3c |  | dash |  |  | Esophageal Pressure
mindray_scope | * | [5 empty] | 1 |  |  |  | 0.2
mindray_scope | ECG_II | ECG II | mV |  |  |  |  | #2c3e50 |  |  |  |  | Waveform
mindray_scope | Pleth | Plethysmography | AU |  |  |  |  | #7d3c98 |  |  |  |  | Waveform
mindray_scope | Art | Arterial Pressure | mmHg |  | 0 | 200 | [6 empty] | Arterial Pressure
mindray_scope | Paw | Airway Pressure | cmH2O |  |  |  |  | #e67e22 |  |  |  |  | Pressure & Flow
mindray_scope | Vol | Volume | mL |  |  |  |  | #2471a3 |  |  |  |  | Volume
mindray_scope | debit | Flow | L/min |  |  |  |  | #1e8449 |  |  |  |  | Pressure & Flow
mindray_scope | P4 | Port 4 Pressure | cmH2O | [5 empty] | no |  |  |  | Esophageal Pressure
edf | chan 1 | EEG 1 | µV |  |  |  |  | steelblue
edf | chan 2 | EEG 2 | µV |  |  |  |  | darkorange
edf | chan 3 | EEG 3 | µV |  |  |  |  | seagreen
fluxmed_signals | * | [5 empty] | 1 |  |  |  | 0.02
fluxmed_signals | Paw(cmH2O) | Airway Pressure (Fluxmed) | cmH2O |  | -5 | 40 |  | red |  |  |  |  | Fluxmed waveforms
fluxmed_signals | Volume(ml) | Volume (Fluxmed) | mL |  | -50 | 800 |  | steelblue |  |  |  |  | Fluxmed waveforms
fluxmed_signals | Flow(l/min) | Flow (Fluxmed) | L/min |  |  |  |  | darkgreen |  |  |  |  | Fluxmed waveforms
fluxmed_signals | Pes(cmH2O) | Esophageal Pressure (Fluxmed) | cmH2O |  |  |  |  | orange |  | dot |  |  | Fluxmed esophageal
fluxmed_signals | Ptpulm(cmH2O) | Transpulmonary Pressure (Fluxmed) | cmH2O |  |  |  |  | purple |  |  |  |  | Fluxmed esophageal
fluxmed_signals | CO2(mmHg) | CO2 (Fluxmed) | mmHg |  | 0 | 50
fluxmed_parameters | * | [5 empty] | 2 |  |  |  | 1
fluxmed_parameters | RR(bpm) | Respiratory Rate (Fluxmed) | /min |  | 0 | 40
fluxmed_parameters | VT(ml) | Tidal Volume (Fluxmed) | mL | [9 empty] | Fluxmed breath volumes
fluxmed_parameters | MV(l) | Minute Volume (Fluxmed) | L/min | [9 empty] | Fluxmed breath volumes
fluxmed_parameters | PEEP(cmH2O) | PEEP (Fluxmed) | cmH2O |  |  |  |  | steelblue |  |  |  |  | Fluxmed breath pressures
fluxmed_parameters | Pplat(cmH2O) | Plateau Pressure (Fluxmed) | cmH2O | [6 empty] | dash |  |  | Fluxmed breath pressures
fluxmed_parameters | PIP(cmH2O) | Peak Pressure (Fluxmed) | cmH2O | [9 empty] | Fluxmed breath pressures
fluxmed_parameters | DrivingPaw(cmH2O) | Driving Pressure (Fluxmed) | cmH2O | [9 empty] | Fluxmed mechanics
fluxmed_parameters | Cstat(ml/cmH2O) | Static Compliance (Fluxmed) | mL/cmH2O | [9 empty] | Fluxmed mechanics
fluxmed_parameters | PesSwing(cmH2O) | Esophageal Swing (Fluxmed) | cmH2O
fluxmed_parameters | EtCO2(mmHg) | EtCO2 (Fluxmed) | mmHg |  | 20 | 60
mindray_respi_waves | * | [5 empty] | 1 |  |  |  | 0.02
mindray_respi_waves | MDC_PRESS_AWAY-MDC_DIM_CM_H2O | Paw (Mindray respi) | cmH2O |  | -5 | 40 |  | red |  |  |  |  | Mindray respi waveforms
mindray_respi_waves | MDC_VOL_AWAY-MDC_DIM_MILLI_L | Volume (Mindray respi) | mL |  | -50 | 600 |  | steelblue |  |  |  |  | Mindray respi waveforms
mindray_respi_waves | MDC_FLOW_AWAY-MDC_DIM_L_PER_MIN | Flow (Mindray respi) | L/min |  | -100 | 100 |  | darkgreen |  |  |  |  | Mindray respi waveforms
mindray_respi_waves | MDC_PRESS_ESOPH-MDC_DIM_CM_H2O | Poes (Mindray respi) | cmH2O |  | -20 | 20 |  | orange |  | dot |  |  | Mindray respi esophageal
mindray_respi_waves | MDC_PRESS_TRANSPULM-MDC_DIM_CM_H2O | Ptranspulm (Mindray respi) | cmH2O |  | -10 | 30 |  | purple |  |  |  |  | Mindray respi esophageal
mindray_respi_waves | MDC_CONC_AWAY_CO2-MDC_DIM_MMHG | CO2 (Mindray respi) | mmHg |  | 0 | 50
mindray_respi_numerics | * | [5 empty] | 2 |  |  |  | 1
mindray_respi_numerics | MDC_VOL_AWAY_TIDAL_EXP-MDC_DIM_MILLI_L | Tidal Volume exp (Mindray respi) | mL | [9 empty] | Mindray respi breath volumes
mindray_respi_numerics | MDC_VENT_VOL_MINUTE_EXP-MDC_DIM_L_PER_MIN | Minute Volume exp (Mindray respi) | L/min | [9 empty] | Mindray respi breath volumes
mindray_respi_numerics | MDC_VENT_PRESS_AWAY_END_EXP_POS-MDC_DIM_CM_H2O | PEEP (Mindray respi) | cmH2O |  |  |  |  | steelblue |  |  |  |  | Mindray respi breath pressures
mindray_respi_numerics | MDC_PRESS_RESP_PLAT-MDC_DIM_CM_H2O | Plateau Pressure (Mindray respi) | cmH2O | [6 empty] | dash |  |  | Mindray respi breath pressures
mindray_respi_numerics | MDC_PRESS_AWAY_MAX-MDC_DIM_CM_H2O | Peak Pressure (Mindray respi) | cmH2O | [9 empty] | Mindray respi breath pressures
mindray_respi_numerics | MDC_COMPL_LUNG-MDC_DIM_MILLI_L_PER_CM_H2O | Lung Compliance (Mindray respi) | mL/cmH2O | [9 empty] | Mindray respi mechanics
mindray_respi_numerics | MNDRY_VENT_PDRIVE-MDC_DIM_CM_H2O | Driving Pressure (Mindray respi) | cmH2O | [9 empty] | Mindray respi mechanics
mindray_respi_numerics | MNDRY_VENT_MPRS-MNDRY_DIM_JOULES_PER_MIN | Mechanical Power (Mindray respi) | J/min
mindray_respi_numerics | MDC_CONC_AWAY_CO2_ET-MDC_DIM_MMHG | EtCO2 (Mindray respi) | mmHg |  | 20 | 60
fluxmed_parameters | Comments(-) | Operator comments (text) | [9 empty] | no
icca | *
icca | 2423 | HR (ICCA 2423) | bpm |  |  |  |  | crimson
icca | 2630 | SpO2 (ICCA 2630) | % |  |  |  |  | steelblue
icca | 19602 | ABP mean (ICCA 19602) | mmHg | [9 empty] | ICCA blood pressures
icca | 6041 | NIBP systolic (ICCA 6041) | mmHg | [9 empty] | ICCA blood pressures
icca | 6043 | NIBP diastolic (ICCA 6043) | mmHg | [9 empty] | ICCA blood pressures
icca | 6048 | NIBP mean (ICCA 6048) | mmHg | [9 empty] | ICCA blood pressures
icca | 4347 | PEEP (ICCA 4347) | cmH2O |  |  |  |  | seagreen |  |  |  |  | ICCA airway pressures
icca | 17324 | Peak Pressure (ICCA 17324) | cmH2O | [9 empty] | ICCA airway pressures
icca | 17728 | Plateau Pressure (ICCA 17728) | cmH2O | [9 empty] | ICCA airway pressures

## loops
datasource | loop_name | x_signal | y_signal
servo_u | PV loop servo-u | Airway Press. (cmH2O) | Volume (ml)
mindray_scope | PV loop mindray | Paw | Vol
fluxmed_signals | PV loop fluxmed | Paw(cmH2O) | Volume(ml)
mindray_respi_waves | PV loop mindray respi | MDC_PRESS_AWAY-MDC_DIM_CM_H2O | MDC_VOL_AWAY-MDC_DIM_MILLI_L
mindray_respi_waves | PV esophageal mindray respi | MDC_PRESS_ESOPH-MDC_DIM_CM_H2O | MDC_VOL_AWAY-MDC_DIM_MILLI_L
global | PV loop cross-device (servo-u P, mindray V) | servo_u::Airway Press. (cmH2O) | mindray_scope::Vol

## spectrograms
datasource | spectrogram_name | signal | freq_min | freq_max | db_min | db_max | window_s | overlap
edf | EEG 1 spectrogram | chan 1 | 0.5 | 30 | 5 | 40
edf | EEG 2 spectrogram | chan 2 | 0.5 | 30 | 5 | 40
edf | EEG 3 spectrogram | chan 3 | 0.5 | 30 | 5 | 40 | 4 | 0.75

## psds
datasource | groups | signal | freq_min | freq_max | db_min | db_max | window_s | overlap | label | color | line_dash
edf | EEG PSD (chan 1+2) | chan 1 | 0.5 | 30
edf | EEG PSD (chan 1+2) | chan 2 | 0.5 | 30
edf | EEG PSD (chan 3) | chan 3 | 0.5 | 30
edf | EEG PSD (chan 3, window comparison) | chan 3 | 0.5 | 30 |  |  | 2 |  | chan 3 (2s window)
edf | EEG PSD (chan 3, window comparison) | chan 3 | 0.5 | 30 |  |  | 8 |  | chan 3 (8s window) | darkred | dash