## signals
datasource | signal | label | unit | unit_conversion | color | priority | period_resampling | range_min | range_max | visible | line_dash | hover_template | display | groups | timezone
other::waves | * | [11 empty] | yes |  | Europe/Paris
other::waves | art | Arterial Pressure | mmHg |  | red |  |  | 0 | 500 |  |  | <b>ART:</b> %{y:.1f} mmHg<extra></extra> | yes | Hemodynamic waves
other::waves | pleth | Plethysmography | AU |  | purple | [7 empty] | yes | Hemodynamic waves
other::mindray_respi_waves | MDC_PRESS_AWAY-MDC_DIM_CM_H2O | Paw | cmH2O |  | red |  |  | -5 | 40 |  |  |  | yes | Waveforms
other::mindray_respi_waves | MDC_VOL_AWAY-MDC_DIM_MILLI_L | Volume | mL |  | steelblue |  |  | -50 | 600 |  |  |  | yes | Waveforms
other::mindray_respi_waves | MDC_FLOW_AWAY-MDC_DIM_L_PER_MIN | Flow | L/min |  | darkgreen |  |  | -100 | 100 |  |  |  | yes | Waveforms
other::mindray_respi_waves | MDC_PRESS_ESOPH-MDC_DIM_CM_H2O | Poes | cmH2O |  | orange |  |  | -20 | 20 |  | dot |  | yes
other::mindray_respi_waves | MDC_PRESS_TRANSPULM-MDC_DIM_CM_H2O | Ptranspulm | cmH2O |  | purple |  |  | -10 | 30 |  |  |  | yes
other::mindray_respi_waves | MDC_CONC_AWAY_CO2-MDC_DIM_MMHG | CO2 | mmHg |  |  |  |  | 0 | 50 |  |  |  | yes
other::numerics | * |  |  |  |  | 2 | 1 | [5 empty] | yes |  | UTC
other::numerics | FC | Heart Rate | bpm |  | #e31a1c |  |  | 0 | 200 |  |  | <b>HR:</b> %{y:.0f} bpm<extra></extra> | yes
other::numerics | SpO₂ | SpO2 | % |  |  |  |  | 80 | 100 |  |  |  | yes
other::numerics | FiO₂ | FiO2 | % |  |  |  |  | 0 | 100 |  |  |  | yes
other::numerics | ARTd | ART diastolic | mmHg |  |  | 1.5 | [6 empty] | yes | Arterial Pressure
other::numerics | ARTm | ART mean | mmHg |  | crimson | -10000 | [6 empty] | yes | Arterial Pressure
other::numerics | ARTs | ART systolic | mmHg |  |  | 1.5 | [6 empty] | yes | Arterial Pressure
other::numerics | PNId | NI diastolic | mmHg | [9 empty] | yes | NI Pressure
other::numerics | PNIm | NI mean | mmHg | [9 empty] | yes | NI Pressure
other::numerics | PNIs | NI systolic | mmHg | [9 empty] | yes | NI Pressure
other::numerics | FR | Respiratory Rate | /min |  |  |  |  | 0 | 40 |  |  |  | yes
other::numerics | Vt-exp | Tidal Volume exp | mL |  |  |  |  | 0 | 800 |  |  |  | yes | Volumes & ventilation
other::numerics | PEP | PEEP | cmH2O |  | steelblue |  |  | -2 | 20 |  |  |  | yes | Ventilatory pressures
other::numerics | Pplat. | Plateau Pressure | cmH2O |  |  |  |  | 0 | 40 |  | dash |  | yes | Ventilatory pressures
other::numerics | VMexp | Minute Volume | L/min | [9 empty] | yes | Volumes & ventilation
other::numerics | CO₂fe | EtCO2 | mmHg |  |  |  |  | 20 | 60 |  |  |  | yes
other::numerics | Temp | Temperature | °C |  |  |  |  | 34 | 42 | no |  |  | yes
other::syringe | * | [13 empty] | Europe/Paris
other::syringe | Vitesse Propofol | Propofol rate | mg/h | [9 empty] | yes | Drug rates
other::syringe | Vitesse Remifentanil | Remifentanil rate | µg/h | [9 empty] | yes | Drug rates
other::syringe | Vitesse Babynoradrenaline | Noradrenalin rate | µg/h | 5 | [8 empty] | yes | Drug rates
other::syringe | Effet Propofol | Propofol effect site | - | [8 empty] | fraction | yes | Drug effects
other::syringe | Effet Remifentanil | Remifentanil effect site | - | [8 empty] | percentage | yes | Drug effects

## loops
datasource | loop_name | x_signal | y_signal
other::waves | Art vs Pleth (within-file) | art | pleth
other::mindray_respi_waves | PV loop | MDC_PRESS_AWAY-MDC_DIM_CM_H2O | MDC_VOL_AWAY-MDC_DIM_MILLI_L
other::mindray_respi_waves | PV esophageal | MDC_PRESS_ESOPH-MDC_DIM_CM_H2O | MDC_VOL_AWAY-MDC_DIM_MILLI_L
other::numerics | PV numeric | Pplat. | Vt-exp
global | Other numerics vs Other mindray_respi_waves | other::numerics::ARTm | other::mindray_respi_waves::MDC_PRESS_AWAY-MDC_DIM_CM_H2O